# ABSL-2 CONTAINMENT of INFECTIOUS AGENT

Agent: [Insert agent here]

Hazard: Potential exposure may occur during manipulation of

agent, during administration of agent to animals, or during procedures involving infected animals.

Precautions: Limited access. Biosafety Level 2 containment practices, equipment and facilities. PPE required before entering the room, including a disposable gown, gloves, sleeves, and shoe covers. Administration(s) and procedures involving administered animals (i.e., dosing, cage changes, derivations) are conducted in a BSC. Work surfaces and non-disposable equipment are cleaned and decontaminated with Oxivir Tb after use. Husbandry completed after other colonies. Soiled cages are autoclaved as a unit prior to sanitation. Sleeves and gloves are discarded in red biohazard bags and hands are then sanitized before leaving room. Carcasses, tissues, and disposable supplies are disposed of as biohazardous waste.

Note: All suspect exposures should be reported immediately to the PI.

Contact: [Insert researcher’s name and phone #]

SC #252

Eff. 5/19